## Sheet1
QSE: 1.Organization
EOC.01: The laboratory establishes a process for periodic assessment of compliance with accreditation standards.
The laboratory acts on all feedback and reports received from GAHAR during the accreditation period
EOC.03: The laboratory reacts to all GAHAR requirements and reports in a timely manner
EOC.04: The laboratory demonstrates (using monitoring tools) the compliance with GAHAR Safety Requirements and acts on identified gaps.
EOC.01: The laboratory reports accurate and complete information to GAHAR during the accreditation process
EOC.03: The laboratory reports within 30 days any structural changes in the laboratory scope of work of addition or deletion of services by more than 20% of its scope, building expansions, or demolitions
EOC.02: The laboratory reports accurate and complete information to GAHAR in between accreditation visits
The laboratory provides GAHAR access to evaluation results and reports of any evaluating organization
EOC.01: The laboratory reports any conflict of interest to GAHAR with evidence before or during surveys
During surveys, the laboratory maintains professional standards on dealing with surveyors
During surveys, the laboratory ensures that the environment does not pose any safety or security risks to surveyors
During surveys, the laboratory avoids media or social media releases without GAHAR’s approval.
EOC.05: The accredited laboratories use the GAHAR accreditation seal according to GAHAR’s rules
The governing body structure is represented in the laboratory organization chart.
The governing body meets at predefined intervals and minutes of meetings are recorded.
The laboratory has vision and mission statements approved by the governing body and are visible in public areas to staff, clients, and visitors.
The governing body has defined its responsibilities and accountabilities as mentioned in the intent from a) to e) and has a process for resources allocation that includes clear criteria for selection and prioritization. a) Defining the laboratory mission, vision and values. b) Support, promotion, and monitoring of performance improvement, Client safety, risk management efforts, and safety culture. c) Setting priorities for activities to be executed by the laboratory; The process of prioritization among selected activities follows this process of selection. d) Prioritization criteria should be known to all to ensure a fair and transparent resource allocation process. e) Approval of: i. The laboratory strategic plan. ii. The operational plan and budget, capital investments. iii. The quality improvement, Client safety, and risk management programs. iv. Community assessment and involvement program.
The strategic plan, operational plans, budget, quality improvement, and risk management programs are approved, monitored, and updated by the governing body.
The governing body members and laboratory head of departments are aware of the process of communication and approve the communication channels.
There is a job description for the laboratory director covering the requirements as mentioned in the intent from a) to i). a) Providing oversight of day-to-day operations b) Ensuring clear and accurate posting of the laboratory services and hours of operation to the community c) Ensuring that policies and procedures are developed, implemented by laboratory staff and approved by the governing body. d) Providing oversight of human, financial, and physical resources. e) Evaluating the laboratory’s performance annually f) Ensuring appropriate response to reports from any inspecting or regulatory agencies, including accreditation. g) Ensuring that there is a functional, organization-wide program for performance improvement, Client safety and risk management with appropriate resources. h) Setting a framework to support coordination within and/or between departments or units, as well as a clear process of coordination with relevant external services. i) Regular reports to the governing body on how legal requirements are being met.
The laboratory director has appropriate training and/or experience as defined in the job description.
The laboratory identifies the proper communication channels between staff and laboratory head of department.
The governing body receives a periodic report from the laboratory head of department. About quality, client safety, and performance measures at least annually.
There is evidence of delegation of authority when needed.
The laboratory has an approved strategic plan with defined goals and objectives.
Participation of staff, laboratory head of departments, community, and other identified stakeholders in the strategic plan is documented.
The strategic plan is regularly reviewed.
The laboratory has operational plans that includes items from a) to f) in the intent. a) Clear goals and objectives (SMART objectives). b) Specific activities and tasks for implementation. c) Timetable for implementation d) Assigned responsibilities e) Sources of required budget f) Means for measuring achievement
Operational plans are reviewed at least annually.
The laboratory has a valid job description for each laboratory head of department to identify the required qualification and responsibilities.
There is a head for each department of the laboratory who is qualified as required by the job description.
The responsibilities of the departments/ services heads include at least a) to d) in the intent. a) Sustaining a firm laboratory structure: i. Planning for upgrading or replacing systems, buildings, or components needed for continued, safe, and effective operation. ii. Collaboratively developing a plan for staffing the laboratory that identifies the numbers, types, and desired qualifications of staff according to workload and approved scope of service. iii. Defining a written description of the services provided by the department (scope of service). iv. Defining education, skills, and competencies needed by each category of staff. v. Ensuring that there is a department specific orientation and continuing education program for the department’s staff. vi. Ensuring all required policies, procedures, and plans have been developed and implemented. vii. Providing adequate space, equipment, and other resources based on strategic and operational plans and needed services. viii. Selecting equipment and supplies based on defined criteria that include quality and costeffectiveness. b) Running smooth directed operations i. Creating a “Just Culture” for reporting errors, near misses, and complaints, and using the information to improve the safety of processes and systems. ii. Designing and implementing processes that support continuity, coordination of care, and risk reduction. iii. Ensuring that services are developed and delivered safely according to applicable laws and regulations and approved organization strategic plan with input from the users/staff. iv. Ensuring coordination and integration of these services with other departments when relevant. c) Continuous monitoring and evaluation i. Ensuring that all quality control is implemented, monitored, and action is taken when necessary. ii. Ensuring that the department’s/service’s performance is monitored and reported annually to head of department. iii. Ensuring the laboratory meets the conditions of facility inspection reports or citations. iv. Annually assessing the operational plans of the services provided to determine the required facility and equipment needs for the next operational cycle. v. Annually reporting to the laboratory governing body or authority on system or process failures and near misses, and actions are taken to improve safety, both proactively and in response to actual occurrences. The laboratory data are reviewed, analyzed, and used by management for decisionmaking. d) Continuous Improvement i. Ensuring that the department is involved in the performance improvement, client safety and risk management program(s).
Departments and services heads are aware of and perform their responsibilities.
Departments and services heads submit periodic reports on their activities
The laboratory has an approved policy for the billing process includes the items mentioned in the intent from a) to d) a) Availability of an approved price list. b) Clients are informed of any potential costs related to requested laboratory services. c) A process is in place to ensure accurate billing. d) Use of accurate and approved coding for laboratory tests (when applicable).
Billing staff are oriented on various health insurance processes.
There is an approved price list for the provided laboratory services.
Clients are informed of any potential costs related to the requested laboratory tests.
The laboratory uses accurate and approved codes for laboratory tests (when applicable).
In the case of a third-party payer (or health insurance), the timeliness of approval processes is monitored
The laboratory has an approved policy for ethical management that addresses at least a) to g) in the intent. a) Developing and implementing the code of ethics b) Developing and implementing of laboratory values c) Handling errors that affect the client and medico-legal case. d) Developing client confidentiality rules e) Identifying and disclosing conflict of interest f) Management of discrimination, and harassment. g) Ensuring impartiality and gender equality.
Laboratory staff is aware of the ethical management policy and approved code of ethics.
Ethical issues are discussed and managed according to the approved code of ethics and resolved within defined time frame.
Addressed ethical issues are used for education and staff professional development.
Head of departments participate in regular safety audits.
Head of departments support quality and safety initiatives, monitoring, and improvement activities.
Head of departments creates a just culture to encourage reporting errors and near misses.
The laboratory has an approved policy for positive workplace culture, that addresses at least a) to f) from the intent. a) Workplace cleanliness, safety and security measures b) Management of workplace violence, discrimination, and harassment. c) Communication channels between laboratory head of departments and staff. d) Staff feedback measurement, including suggestions for provided services improvement or planning new services. e) Planning for staff development. f) Turnover preventive measures e.g. (fair salaries, health benefits, and incentives).
The workplace is clean, safe, and security measures are implemented.
Management of workplace violence, discrimination, and harassment measures are implemented.
There are communication channels between staff and Laboratory head of departments.
Staff feedback and satisfaction are measured on regular basis.
The laboratory services reflect alignment with international, regional, and/or national community initiatives.
All staff is aware of laboratory community initiatives.
The laboratory aligns the provided services with the assessed community health needs.
The community involvement plan is updated periodically to meet the needs of the community.
QSE: 2.Customer Focus
The laboratory has an approved plan fulfilling the detailed practices for client-centered activities includes elements mentioned in intent from a) to f). a) Create a vision of establishing a client-centered culture with the required approaches toachieve it. b) Communicate this vision to multiple stakeholders and staff members. c) Education and training of the staff to ensure that they understand and can implement clientcentered care practices including empowerment of clients to make an informed choice/decision. d) Involving the clients in the client centered activities and initiatives planning. e) Identify potential obstacles and resistance. f) Work to remove these obstacles and ease down resistance.
Laboratory leadership assign an individual(s) with defined responsibilities and authorities to oversight client centeredness plan.
Laboratory staff is oriented on a client-centeredness activities.
Clients and family members are involved in client centeredness activities.
Laboratory leadership takes action to encourage staff participation in client-centeredness initiatives.
1.The laboratory has an approved policy and procedure guiding the process of defining client and family rights, includes elements mentioned in intent from a) to i). a) Client and family rights as defined by laws and regulations, and the ethical code of Healthcare Providers’ Syndicates b) Client and family rights to know the name and the title of laboratory staff members. c) Client and family rights to respect the client's personal values, beliefs, choices and preferences including cultural and spiritual. d) Client and family rights to security, personal safety, privacy, confidentiality and dignity. e) Client and family right to identify, choose or refuse their options for provided care (if applicable). f) Client and family rights to make a complaint or suggestion without fear of retribution. g) Client and family rights to know the procedures and price of services. h) A child or adolescent client has the right to expect that services provided by the laboratory will be appropriate to his or her age and needs. i) Clients with special needs has the right to expect that the services provided by the laboratory will be appropriate to his or her needs.
All staff members are aware of clients’ and families’ rights and their roles in protecting their rights
Information about client rights is provided in written or in another manner that the client understands and is posted in all public areas in the laboratory.
Client and family rights are protected in all areas of the laboratory and at all times.
Rights for clients with special needs, children and adolescents are available.
Violations against clients’ rights are reported and analyzed, and corrective action is taken.
The laboratory has an approved policy and procedure guiding the process of defining client and family responsibilities includes elements mentioned in intent from a) to d). a) Clients and their families have the responsibility to comply with the procedures of the laboratory b) Clients and their families have the responsibility to comply with financial obligation according to laws and regulations and laboratory policy. c) Clients and their families have the responsibility to show respect to other clients and laboratory workers. d) Clients and their families have the responsibility to release honestly and transparently the information required by laboratory staff about medication intake, fasting hours or data which can affect the result of the clients.
All staff members are aware of clients’ and families’ responsibilities.
Clients are informed of their responsibilities in a manner they can understand
Clients' responsibilities are posted in all public areas in the laboratory and visible to clients, families, and staff
Violations against clients’ responsibilities are reported and analyzed, and corrective action is taken. تم تجميع مل ال pcc4 هنا في مكان واحد
The laboratory identifies the topics, places and/or timings for distributing client education materials
Laboratory staff is aware of clients’ and families’ education process.
Client education materials are readily available, in the places and for the topics identified by the laboratory.
Client education materials contain relevant and evidence-based information.
Client education materials are appropriate for readers of varying literacy levels and translated in different languages for foreigner client groups.
The laboratory has an approved policy guiding the process of informed consent includes elements mentioned in intent from a) to f). a) The list of processes when informed consent is needed; this list includes: i. Complex sampling techniques (e.g. prostatic secretion, vaginal smear, needle biopsy, bone marrow aspiration). ii. HIV testing iii. Research and education. b) Discussion of benefits and risks of doing this technique and involve the use of decision aids (if any). c) Informed consent in case of refusing provided care is documented and clients is informed of the consequences of their decision (if applicable). d) Certain situations when consent can be given by someone other than the client, as well as Mechanisms for obtaining and recording it according to applicable laws and regulations and approved laboratory policies. e) Required staff training on obtaining informed consent f) Consent forms available in all applicable locations.
Informed consent is obtained when required in a manner and language that the client understands and does not contain abbreviations.
Informed consent given by someone other than the client complies with applicable laws and regulations.
Informed consent records are maintained.
The laboratory has an approved policy guiding the process of client and family feedback measurement includes elements mentioned in intent from a) to d). a) Measuring feedback for walk in clients. b) Measuring feedback from other customers as contracted or insurance companies. c) Measuring feedback for home visit clients. d) Measuring feedback for referring doctors.
Feedback from clients and families and other customers is received, analyzed, and interpreted in a timely manner.
The interpreted feedback is shared with the concerned staff members.
The laboratory monitors the reported data on clients’ and families’ feedback and takes actions to control or improve the process as appropriate.
The laboratory has an approved policy guiding the process of managing clients' complaints and suggestions includes elements mentioned in intent from a) to e). a) Mechanisms to inform clients and families of communication channels to voice their complaints and suggestions. b) Tracking processes for clients’ and families’ complaints and suggestions. c) Responsibility for responding to clients’ complaints and suggestions. d) Timeframe for giving feedback to clients and families about voiced complaints or suggestions. e) Monitor the reported data on clients' complaints and take actions to control or improve the process
Staff is aware of complaints and suggestion policy.
The laboratory allows the complaining process to be publicly available.
Complaints and suggestions are investigated, analyzed by the laboratory, and resolved in an approved timeframe.
Clients and families receive feedback about their complaints or suggestions within approved timeframes and according to the level of urgency of the complaint.
Evaluation of the effectiveness of the corrective actions taken.
QSE: 3.Facilities and Safety
The laboratory has a risk management plan/ program that includes the elements mentioned in the intent a) to j). a) Scope, objective, and criteria for assessing risks b) Risk management assigned responsibilities and functions. c) Staff training on risk management concepts and tools d) Risk identification, monitoring and reviewing with a define timeframe and updated risk register. e) Risk management policies and procedures. f) Clinical risk assessment to Identify the high-risk clients, such as: i. Clients with a communicable disease ii. Clients with bleeding tendency iii. Immunosuppressed clients iv. Clients with emotional or psychiatric disorders, v. Vulnerable client populations, including frail elderly, dependent children, and clients at risk for abuse and/or neglect. vi. Clients at high risk of fall. g) Risk prioritization and categorization (i.e. strategic, operational, reputational, financial, other) h) Risk reporting and communication with stakeholder and governing body with a defined timeframe. i) Risk Reduction plans and tools with priority given to high risks j) The risk management program/plan is updated annually.
Actions are taken according to the results of risk assessment.
Results of risk management activities are communicated to the governing body at least quarterly.
The risk management plan and the risk register are evaluated and updated at least annually or when indicated.
The laboratory has a proactive risk reduction tool for at least one high-risk process annually.
The laboratory maintains basic requirements for compliance with environmental safety laws, regulations, and civil defense requirements.
The laboratory areas have sufficient space according to laws, regulations, and IPC standards as mentioned in the intent from a) to h). a) The physical accessibility of the building is designed to be user-friendly and within reasonable reach of those who need them including wheelchair accessible entrances and clear signage with respect to those with vision and hearing impairments and needs. b) Client centered waiting area is adequate for the expected number of clients, well-lit, wellventilated, clean and safe, suitable for basic human needs. c) Administrative area physically separated from working areas. d) Clean and contaminated areas in the laboratory are separated. e) Spaces for specimen collection areas are adequately designed to allow respect and accommodation for clients’ privacy, confidentiality, security, comfort, disabilities, and culturally appropriate by providing separate areas for women and men. f) The space provided is suitable to accommodate all laboratory technical areas and ensures the following: i. Bench space is adequate for the activities performed by laboratory staff. ii. There is appropriate space for sample preparation, handling, and processing. iii. Each piece of equipment has enough space for easy access and adequate ventilation so it can function properly and not be affected by other equipment. iv. Separation or segregation of some areas due to the nature of the work performed is according to infection control and WHO guidelines (e.g. microbiology laboratory, tuberculosis laboratory and mycology work). g) Well- ventilated, well-lit and clean staff rest areas including spaces that are used solely by employees for hygiene needs, clothes change, rest and eating when applicable (such as staff lounge) h) Well- ventilated, well-lit and clean storage areas including spaces that are used for the following: I. Proper storage and arrangement of reagents in a safe manner and according to Manufacturers’ guidelines. II. Special storage requirements are met for flammable liquids, compressed gases, and any other reagents with special requirements. III. Storage for specimens and control materials is adequate and appropriate. IV. Proper storage for supplies and equipment. V. Adequate storage space is provided for records, files, and manuals.
The laboratory responds to external inspection reports within the required timeframe.
The laboratory leadership ensures the availability of current and updated work permits when required.
The laboratory allocates budgets for maintaining and upgrading laboratory environmental safety.
The laboratory ensures the availability of a trained staff to oversee the environmental and facility safety activities.
The responsibilities of the EFS staff include the items mentioned in the intent from a) to d) in the intent. a) Inspecting laboratory areas to identify maintenance and safety issues, such as clogged drains, leaky ceilings, and faulty electrical switches, availability of warning signs, etc. b) Review of aggregated essential data, incident reports, drill reports, safety plans measures, and recommended actions. c) Following up to ensure compliance with all safety requirements. d) Providing quarterly reports to the laboratory's leadership on inspection findings
The EFS staff is aware and perform its responsibilities.
The EFS staff reports on inspecting findings to the laboratory leadership at least quarterly.
The laboratory has an approved fire and smoke safety plan that includes the elements mentioned in the intent from a) to f) and it is evaluated and updated annually. a) Fire and smoke risk assessment. b) Preventive measures, that include at least: i. Assesses compliance with Civil Defense requirement, and related laws and regulations. ii. Safe storage and handling of highly flammable materials. iii. Comply with no smoking policy according to laws and regulations. iv. Safe handling of electric panel, cords, and connections c) Early detection of fire and smoke system, including monitoring method of the alarm system like central control panel connected to all areas in laboratory according to its functionality, and ensure continuous monitoring 24/7. d) Regular inspection testing of early detection system & fire suppression systems. e) Safe evacuation through availability of safe, unobstructed fire exits, with clear signage to assembly areas and emergency light, in addition to other related signage’s like how to activate the fire alarm, using a fire extinguisher and hose reel. f) The plan is evaluated and updated annually.
All staff are trained on fire safety plan and can demonstrate their roles during fire.
The laboratory fire alarm systems are available, functioning, inspected, tested, and maintained on regular basis.
The laboratory fire-fighting systems are available, functioning, inspected, tested, and maintained on regular basis.
The laboratory guarantees safe evacuation through unobstructed and clearly signage for evacuation.
Fire drill is performed at least annually with the required documentation as mentioned in the intent from I) to V). I) Dates and timings. II) Staff who participated in the drill. III) Involved areas. IV) Shifts. V) Drill evaluation and corrective action plan.
There is an approved laboratory emergency preparedness plan includes the elements mentioned in the intent from a) to e). a) Communication strategies: Internal communication may be in the form of Clear call tree that includes staff titles and contact numbers, and External communication channels may include civil defense, ambulance centres, and police. b) Clear duties and responsibilities for the facility head of departments and staff. c) Identification of required resources such as utilities, medical equipment, medical, and nonmedical supplies, including alternative resources. d) Business Continuity: i. Staff main task is maintained in case of emergencies. ii. Alternative care sites, and back-up utilities. e) Drill schedule: the laboratory must have a drill schedule for emergencies at least annually and ensure the attendance of staff; proper evaluation and recording of the drill includes, but is not limited to: I. Scenario of the drill. II. Observations on code announcement, timing, staff attendance, response, communication, triaging, and clinical management. III. Clear corrective actions if needed. IV. Debriefing.
Staff members are trained on the emergency preparedness plan.
The laboratory performs at least one drill annually that includes the item (e) in the intent. ensure the attendance of staff; proper evaluation and recording of the drill includes, but is not limited to: I. Scenario of the drill. II. Observations on code announcement, timing, staff attendance, response, communication, triaging, and clinical management. III. Clear corrective actions if needed. IV. Debriefing.
The laboratory demonstrates preparedness for identified emergencies based on risk assessment.
The plan is evaluated at least annually with aggregation and analysis of necessary data.
The laboratory has an updated hazardous material and waste management plan as mentioned in the intent from a) through k) in the intent. a) A current and updated inventory of hazardous materials used in the laboratory, the inventory should include the material name, hazard type, location, usage, consumption rate, and responsibility. b) Safety data sheet (SDS) should be available and includes information such as physical data, hazardous material type (flammable, corrosive, carcinogenic, etc.), safe storage, handling, spill management and exposures, first aid, and disposal. c) Appropriate labelling of hazardous materials. d) Procedure for safe usage, handling, and storage of hazardous materials. e) Appropriate waste segregation, labelling, and storage, f) Safe handling, transportation, and disposal of all categories of hazardous waste. g) Availability of required protective equipment and spill kits, safe showers and eye washes. h) Investigation and documentation of different incidents such as spill and exposure. i) Compliance with local laws and regulations, availability of required licenses, and/or permits j) Staff training and orientation. k) The plan is evaluated and updated annually and/or when required.
Staff is trained on hazardous material and waste management plan.
The laboratory ensures safe usage, handling, storage, availability of SDS and labelling of hazardous materials
The laboratory ensures safe, handling, storage, and labelling for waste occurs according to laws and regulations.
The laboratory has a documented investigation of spill or other hazardous materials related incidents.
The plan is evaluated and updated annually with aggregation and analysis of necessary data and corrective actions acted upon.
The laboratory has an approved updated plan to ensure a safe work environment including the items mentioned in the intent from a) to f) in the intent. a) Regular inspection with documentation of results, performing corrective actions, and appropriate follow-up. b) Safety measures based on risk assessment for example: i. Availability of emergency showers, eyewash stations. ii. electric hazards management. iii. prohibiting applying cosmetics, wearing contact lenses, and perform mouth pipetting. iv. wearing proper PPEs like safety goggles, gloves, and appropriate footwear, use face shields or respirators if handling hazardous substances. c) Processes for pest, insects, and rodent control. d) Responsibilities according to laws and regulations. e) Safety training on general safety plan. f) The plan is evaluated and updated annually.
The laboratory has an approved updated security plan including the elements mentioned in the intent from I) to VII). I) Ensuring the identification of staff in the laboratory. II) Ensuring the identification of visitors and vendors/contractors with restrictions on their movement within the laboratory. III) Identification of restricted areas. IV) Vulnerable clients such as the elderly, those with mental disorders, and handicapped should be protected from abuse. V) Workplace aggression and violence management. VI) Staff training and orientation. VII)The plan is evaluated and updated annually.
Staff is trained on safety and security plan/s.
Safety measures and PPEs are available and used whenever indicated.
Security measures are implemented.
Safety and security plan/plans is/are evaluated and updated annually.
The laboratory has an approved and updated utility management plan include the elements mentioned in the intent from a) to k). a) Inventory of all essential utility systems, for example, electricity, purified water, heating, ventilation and air conditioning, communication systems, waste disposal systems, fire alarms, and backup power systems. b) Layout of the utility systems. c) Staff training on utility plan. d) Regular inspection, testing, and corrective maintenance of utilities. e) Regular testing of alarms (refrigerators, incubators, biosafety cabinet alarms, gas detectors, and others). f) Testing of the electric generator with and without a load on a regular basis. g) Providing fuel required to operate the generator in case of an emergency. h) Preventive maintenance plan, according to the manufacturer’s recommendations, for alllaboratory utilities. i) Identification of critical utility systems and ensuring backup availability for essential processes, such as uninterrupted power supply (UPS) for sensitive laboratory instruments. j) The laboratory performs regular, accurate data aggregation and analysis (for example, frequency of failure, preventive maintenance, compliance with proper monitoring, updating, and improvement of the different systems). k) The plan is updated annually based on evaluation.
The laboratory has trained staff members to oversee utility management.
Records are maintained for utility systems inventory, testing, periodic preventive maintenance, and malfunction history.
Critical utility systems are identified, and backup availability is ensured and evaluated on regular basis.
The plan is evaluated and updated annually with aggregation and analysis of necessary data.
The laboratory performs a pre-construction risk assessment before any construction or renovation.
All affected departments are involved in the risk assessment.
The laboratory performs preventive and corrective actions whenever risks are identified.
There is a mechanism, such as work permission, to empower risk assessment and recommendations.
If a contractor is used, contractors' compliance is monitored and evaluated by the laboratory.
The laboratory has an infection control program that addresses all the elements mentioned in the intent from a) to g). a) Scope and objectives. b) Infection control policies and procedures include at least the following: i. Hand hygiene policy. ii. PPE policy. iii. Environmental cleaning and disinfection policy. iv. Processing of laboratory equipment policy and its monitoring. v. Safe injection (sampling) policy. vi. Cough etiquette respiratory hygiene policy. vii. Waste management. viii. Standard aseptic techniques policy. ix. Occupational health program. x. Biosafety and biosecurity program. c) Risk assessment to identify laboratory services with increased potential risk of infection and risk mitigation plan. d) Monitoring system to monitor and track infection rates and incidents within the laboratory. e) Staff education and training on infection control principles and practices. f) Staff immunization. g) Continuously assess and improve infection prevention and control practices within the laboratory.
The laboratory staff involved in infection prevention and control are aware of the contents of the program.
The program is based on an updated risk assessment, current scientific knowledge, accepted practice guidelines, and applicable laws and regulations
The program is implemented in all laboratory sections and covers clients, visitors, staff and environment.
The laboratory monitors the reported data on the infection prevention and control program and takes actions to control or improve the processes as appropriate.
The laboratory has approved Hand Hygiene policies and procedures based on current evidence-based guidelines that address all the elements mentioned in the intent from a) to f). a) Hand hygiene techniques b) Indications for hand Hygiene c) Accessibility of hand hygiene facilities, d) Nail Care and Jewellery, e) Hand hygiene education and training, f) Monitoring the compliance.
Laboratory professionals are trained on these policies and procedures.
Hand hygiene is implemented according to the policy.
Hand hygiene posters are displayed in required areas.
Hand hygiene facilities are present in the required numbers and places.
The laboratory monitors the reported data on the hand hygiene process and takes actions to control or improve the process as appropriate.
The laboratory has approved personal protective equipment (PPE) policy and procedures, that address all the elements mentioned in the intent from a) to e). a) Different types of personal protective equipment (PPE). b) Standardized product specifications of Personal protective equipment (PPE). c) Selection of Personal protective equipment (PPE) to be used, based on the risk assessment. d) Staff education and training on the proper way and sequence of donning and doffing of various PPE. e) Monitoring the compliance.
The choice of PPE to be purchased is based on standardized product specifications.
The laboratory provides PPE that is easily accessible and appropriate to the task.
All staff is trained on the proper way and sequence of donning and doffing of various PPE.
Proper selection and use of PPE according to the client’s suspected infection and/or procedure.
The laboratory has approved cleaning and disinfection policy and procedures, that address all elements mentioned in the intent from I) to VII). I) Biosafety level of the laboratory II) Identification of risk areas. III) High-touch environmental surfaces IV) Frequency of environmental cleaning and disinfection V) Environmental detergents and disinfectants to be used. VI) Method of cleaning and disinfection VII)Procedures for dealing with biological spills in the laboratory.
Laboratory Staff members involved in environmental cleaning activities are trained on the policy.
The laboratory identifies high-risk areas with different schedules for each area and includes all elements mentioned in the intent from a) through c). a) Activities to be done every day. b) Activities to be done every shift. c) Deep cleaning activities.
The cleaning technique and disinfectant of choice match the requirements of each cleaned area according to the approved policy.
Clear instructions are available and followed for dealing with biological spills.
The laboratory has an approved policy to guide the sterilization processes and quality control performance, that addresses all elements mentioned in the intent from a) through g). a) Receiving and cleaning of used items. b) Preparation and processing. c) Storage of clean and sterile supplies: properly stored in designated storage areas that are clean, dry, and protected from dust, moisture, and temperature extremes. Ideally, sterile supplies are stored separately from clean supplies, and sterile storage areas must have limited access. d) Logbooks are used to record the sterilization process. e) Expiration dates for sterilized items if present. f) Sterilization quality control elements, method and frequency. g) Sterilization quality control performance expectations and acceptable results shall be defined and readily available to staff
Laboratory staff members involved in sterilization are trained on the laboratory policy.
All laboratory supplies and clients care equipment should be sterile, and sterility is maintained.
Biological indicator test and control is done for each autoclave weekly.
Log book should be present and records are kept for each autoclave
The laboratory has approved policy and procedures guiding safe sampling practices that all addresses elements mentioned in the intent from a) to h). a) Definitions: ("safe sampling practices," "sharps," "contaminated items," etc) b) Purpose, which include preventing infections, ensuring safe handling of sharps and promoting a culture of safety within the laboratory. c) Define roles and responsibilities of laboratory staff regarding safe sampling practices, including oversight responsibilities of laboratory supervisors to monitor compliance. d) Pre-sampling procedures including Hand Hygiene – PPE (clean or sterile gloves)- preparation area. e) Sampling technique. f) Post-sampling practices including safe disposal of sharps. Disposal protocols: * Immediately dispose all used needles/syringes into designated puncture-resistant sharps containers. g) Responsible laboratory staff members training. h) Compliance Monitoring & tracking/reporting Incident related to unsafe injection practices and taking corrective actions
Responsible laboratory staff members are trained on safe sampling practices.
Safe sampling practices are implemented within the laboratory.
Respiratory hygiene/cough etiquette supplies are displayed at appropriate places.
Resources such as tissues and surgical masks are available in numbers matching clients’ and laboratory staff members’ needs.
Respiratory hygiene/cough etiquette is implemented in stand-alone laboratory.
Laboratory has approved aseptic techniques policy(s) and procedures that address all elements mentioned in the intent from a) to c). a) Identification of risk procedures, b) Types of aseptic techniques, c) Clients preparation
Laboratory professionals are trained and educated on aseptic techniques relevant to their jobs and according to the policy.
Various aseptic techniques are performed in the laboratory according to evidence-based guidelines.
Clients preparation is done according to the type of procedures and the laboratory policy.
The laboratory has an approved biosafety plan that addresses all elements mentioned in the intent from a) to f) a) The laboratory should assess the risk categories of potential biological exposure (microorganisms) managed within the setting and determines the corresponding biosafety level that aligns with these risk groups. b) Proper transportation, handling and disposal of infectious biological material and waste. c) At least one decontamination autoclave is present. Proper use, maintenance and calibration of the autoclave are ensured d) All biohazard incidents (including lab. acquired infections) are reported and documented, and relevant corrective actions and improvement plans are constructed accordingly. e) The laboratory staff members should receive relevant biosafety training programs. Training program should be documented. f) The laboratory assigns personnel to oversee infection control biosafety policies and practices.
The laboratory has an approved biosecurity plan that addresses all elements mentioned in the intent from I) to VI). The laboratory shall develop and implement biosecurity plan that include at least the following: I) Biosecurity policy II) Biosecurity risk assessment III) Types of laboratory biosecurity incidents IV) Biosecurity measures based on the risk assessment V) biosecurity control measures VI) Information security
Relevant laboratory biosafety and biosecurity practices are implemented
All staff members are continuously educated and trained on laboratory biosafety and biosecurity plans.
When accidents occur, corrective actions are taken, documented, and reviewed.
QSE: 4.Personnel Management
The laboratory identifies all applicable laws, regulations, and norms that guide workforce management.
Responsible staff members are aware of laws, regulations, and norms that guide workforce management.
An approved updated workforce manual is available.
The workforce is managed and developed according to applicable laws, regulations, and norms that guide workforce management.
Staffing plan matches the mission, and strategic and operational plans of the laboratory.
Staffing plan complies with laws, regulations, and recommendations of professional practices.
The staffing plan identifies the estimated needed staff numbers including independent practitioner, skills and to meet the laboratory needs.
Staffing plan is monitored and reviewed at least annually.
The laboratory has an approved policy and procedures that describe the recruitment process as mentioned in intent from a) to e). a) Collaboration with service/department heads to identify the needs for each department. b) Communicating available vacancies to potential candidates c) Announcing criteria of selection d) Application process e) Recruitment procedures
Responsible staff is aware of the laboratory policy.
Records of the recruitment process include evaluation of the qualification of newly hired staff.
The recruitment process is uniform across the laboratory for similar types of jobs.
There is a job description for every position in the laboratory as mentioned in intent from a) to d). a) The required license and certification b) The education, skills, knowledge, and experience. c) The responsibilities and authorities of each position. d) Job specification
Job descriptions address each position's responsibilities, required qualifications, and reporting structure.
On assignment, the job description is discussed with staff members, including independent practitioners.
The job description is signed by the staff and kept in the staff’s file.
A general orientation program is performed and it includes at least the elements from a) through d). a) The laboratory mission, vision, values, and laboratory structure. b) Ethical framework and code of conduct. c) laboratory policies for Environmental and Facility Safety, infection control, performance improvement, client safety, and risk management. d) First aid training.
A department orientation program is performed and it includes at least the elements from e) through h). e) The quality management system. f) Review of relevant policies and procedures. g) Operational processes. h) Key personnel and lines of authority.
A job-specific orientation program is performed and it includes at least the elements from i) through k). i) Job-specific duties and responsibilities as per the job description. j) Technology and equipment use. k) Staff safety and health.
All new staff members, including contracted and outsourced staff, attend the orientation program.
There is evidence that each staff member has completed the orientation program, which is recorded in their file.
Effectiveness of orientation program is evaluated.
The laboratory has a training and continuing education program for all staff categories that include elements mentioned in intent from a) through k). a) Quality concept, performance improvement, client safety, and risk management. b) Assigned work processes, procedures and updated guidelines. c) The available information system. d) Laboratory safety program, including the infection and prevention program e) Laboratory equipment and utility systems operations and maintenance. f) Dealing with the adverse incidents. g) Code of conducts. h) Environment safety plans. i) Client rights, client satisfaction, and the complaint/ suggestion process. j) Provision of integrated care, shared decision-making, informed consent, interpersonal communication between clients and staff, and cultural beliefs, needs, and activities of different groups served. k) Confidentiality of client information.
Staff members are aware of the training and continuing education program.
The effectiveness of the training and continuing education program is monitored and evaluated.
The educational program is based on the training needs assessment of the staff.
The laboratory has an approved policy and procedures that describe the process for competency assessment.
Competency assessment aligns with the assigned job and includes elements mentioned in the intent from a) through f). a) Observation of Routine Client Test Performance b) Recording and Reporting of Test Results c) Review of Intermediate Test Results and Records d) Direct Observation of Instrument Function and Maintenance e) Assessment of Test Performance f) Assessment of Problem-Solving Skills
Records of staff competency assessment, including managerial and technical levels, are retained in employees’ files.
There is evidence of employee feedback on competency evaluation.
Competency assessment is performed at least biannually for each staff member.
Actions taken in case of unsatisfactory competency assessment results are documented.
Performance evaluation is performed at least annually for each staff member.
Head of departments carries out performance evaluations.
Performance evaluation is based on the job description.
There is evidence of employee feedback on performance evaluation.
Actions are taken based on a performance review.
Staff regular performance review is documented in employees’ files.
The laboratory has an approved policy and procedures to ensure safe and efficient working hours Including elements mentioned in the intent from a) to d). a) Measures to avoid staff burnout like fair distribution of tasks, workload monitoring, and provide adequate staffing. b) Planned rest times and minimize excessive overtime. c) Maternity protection and arrangements for breast-feeding. d) Proper shift scheduling and setting staff working hours according to the laws and regulations
Staff is aware of laboratory’s policy.
The staff schedules ensure suitable working hours, planned rest times, maternity protection, and arrangements for breastfeeding according to laws and regulations.
When working hours exceed the approved limits, measures are taken to ensure staff safety and satisfaction.
There is a staff health program according to laws and regulations that cover items a) to k) in the intent. a) Pre-employment medical evaluation of new staff. b) Periodic medical evaluation of staff members. c) Screening for exposure and/or immunity to infectious diseases. d) Exposure control and management to work-related hazards, such as: i. Ergonomic hazards that arise from the lifting and transfer of heavy objects or equipment, strain, repetitive movements, and poor posture. ii. Physical hazards such as lighting, noise, ventilation, electrical, and others. iii. Biological hazards such as body fluids, fresh tissues, pathogens and others. iv. Chemical hazards such as fumes of chemicals. e) Staff education on the risks within the laboratory environment as well as on their specific jobrelated hazards. f) Positive health promotion strategies, such as smoking cessation or encouraging physical activity (if applicable). g) Scheduling of regular staff vaccination (as indicated). h) Recording and management of staff incidents (e.g., injuries or illnesses, taking corrective actions, and setting measures in place to prevent recurrences). i) When indicated, specific medical evaluation (tests and examinations) is required for staff members to evaluate their appropriateness for safe performance. The situational examination is recorded in staff health records, and action is taken when there are positive results, including employee awareness of these results and provision of counseling and interventions as might be needed. j) Infection control staff shall be involved in the development and implementation of the staff health program as the transmission of infection is a common and serious risk for both staff and Clients in healthcare facilities. k) All staff occupational health program-related results (medical evaluation, immunization, work injuries) shall be recorded and kept according to laws and regulations.
There is an occupational health risk assessment that defines occupational risks within the laboratory.
Staff members are educated about the risks within the laboratory environment, their specific jobrelated hazards, positive health promotion strategies, and periodic medical examinations.
All staff members are subject to the immunization program and to work restrictions according to evidence-based guidelines, laws and regulations, all test results and immunizations are recorded in the staff health record.
Post-exposure prophylaxis and interventions are implemented and recorded
There is evidence that actions are taken, and employees are informed in case of positive results.
The laboratory has an approved policy to maintain and standardize staff files as mentioned in intent from a) through f). a) Staff file initiation b) File contents, include at least the following: i. Qualifications, including education, training, certification\ credentials or license ii. Previous work experience. iii. Signed Job descriptions. iv. Staff Privilege v. Recorded evidence of newly hired general, departmental, and job-specific orientation. vi. Training in current job tasks. vii. Competency assessments. viii. Records of continuing education and achievements. ix. Reviews of staff performance. x. Reports of accidents and exposure to occupational hazards. xi. Staff health records including immunization status, when relevant to assigned duties. xii. Confidentiality agreement. c) Update of file contents d) Storage e) Retention time f) Disposal
Staff members who are involved in creating, storing, and using staff files are aware of the policy requirements.
Staff files are confidential and protected.
Staff files include all the required records from i) through xii) as mentioned in the intent.
Staff files are retained and disposed as per laboratory policy, laws, and regulations.
Required credentials for each position are collected and kept in staff files including independent practitioners’ files.
There is a process for verifying credentials and evaluating the qualification in the laboratory.
The process is uniformly applied to assess staff members’ credentials.
Actions are taken when credentials cannot be verified.
Clinical privileges are accessible and granted to qualified staff when needed.
Clinical privileges are documented in the staff file including renewal when applicable.
QSE: 5.Supplier and Inventory Management
The laboratory has an approved procedure for supply chain management that addresses all elements mentioned in intent from a) through e). a) Supplier’s identification and selection process. b) Suppliers are monitored and evaluated to ensure that the purchased supplies are provided from reliable sources that refrain from dealing with counterfeit, smuggled, or damaged supplies. c) Suppliers are also evaluated based on their response upon request, quality of received materials, check for matching predefined acceptance criteria. d) Laboratory supplies are monitored and evaluated to ensure that no recalled reagents, supplies, equipment, or devices are used. e) Transportation of supplies is monitored to ensure that it occurs according to applicable laws and regulations, approved organization procedures, and manufacturer’s recommendations.
Responsible staff is aware of the supply chain management procedure.
The supply chain processes are recorded, monitored, and evaluated.
Suppliers are monitored and evaluated at least annually.
The laboratory has approved procedures that describe the process of reagents, materials and services selection, reception, and inspection.
Staff is aware of reagents / supplies selection, reception and inspection process and corrective actions when needed.
There is a current list of reagents, supplies, and services including the name of supplier and the equipment used.
Records for reception and inspection process includes items mentioned in intent from a) to d). a) Date and time of reception. b) Quantities, lot numbers and expiration dates. c) Check for meeting predefined acceptance criteria. d) Actions taken in the event of unsatisfactory shipment or service and unacceptable reagent and supplies.
The laboratory has an approved procedure that describes the inventory management system.
Staff is aware of the inventory management procedure.
Records of monitoring storage conditions includes elements mentioned in intent from a) to f). a) Stock quantity b) Reception date c) Expiration date d) Lot number of the reagents/supplies e) Status of the reagents/supplies (accepted or under testing) f) Date placed in service or disposition, if not used.
Reordering supplies/reagents are according to the defined safety limit.
The laboratory has approved procedures that describe the process of requesting and dispatching reagents and supplies includes elements mentioned in intent from a) to e). a) Identifies the personnel who is responsible for requesting and dispatching the laboratorymaterials. b) Developing rules for dispatching material depend on the date of receiving and the date of expiry (e.g.: FEFO: first expire first out). c) Implement plan for dispatching and updating the stored material on certain interval (e.g.: weekly). d) Updating the store records after each dispatching to ensure that the list is correct and revised. e) Implement a periodic check by the designee to evaluate the storage management process.
Responsible staff is aware of reagent requesting and dispatching process.
Records are updated after each dispatching process.
Laboratory rules for dispatching material are followed.
There is a list of all contracted providers.
There are selection criteria for each contracted service.
Head of departments/services participates in selection, evaluation, and continuous monitoring of the contracted services
There are evaluation criteria for monitoring the contracted services includes elements mentioned in intent from a) to e). a) Quality of the service provided. b) Continuous uninterrupted service. c) Prompt response. d) performance evaluation. e) Cost-Effective
Each contract is evaluated at least annually to determine if it should be renewed, amended or terminated.
The laboratory has an approved procedure that describe process for selection and evaluation of referral laboratories.
List of referral laboratories is available.
The selected laboratory meets the selection criteria includes elements mentioned in intent from a) to f). a) Accreditation when available. b) The quality of performance of referral laboratory (e.g.: PT results, certification, reputation…) c) Scope of service. d) Sample type, stability and storage conditions. e) Turnaround time f) Price of service.
Records of evaluation of referral laboratories includes elements mentioned in intent from I) to V). I) Quality of performance monitoring II) Turnaround time III) Prompt response IV) Compliance with transportation procedure V) Result reporting.
Referral laboratory contract includes elements mentioned in intent from i) to ix). i) Scope of Service ii) Agreement conditions iii) Accreditation status iv) Sample Requirements v) Turnaround Time (TAT) vi) Result Reporting vii) Release of information to third party viii) Mean of solving disputes ix) Validity of the agreement and review schedule.
The referral laboratory is evaluated before, during, and upon renewal of the contract or at least annually, and actions are taken
QSE: 6.Equipment Management
The laboratory has an approved equipment management plan as mentioned in the intent from a) through h) in the intent. a) Developing criteria for selecting new laboratory equipment. b) Inspection and testing of new laboratory equipment upon procurement. c) Calibration and Periodic preventive maintenance of laboratory equipment according to the manufacturer’s recommendations and/or its usage. d) Training of staff on safe usage of laboratory equipment upon hiring and upon installation of new equipment, and whenever needed by a qualified person. e) Inventory of laboratory equipment and their identification and status (e.g. in use, out of use, under repair…). f) Dealing with equipment adverse incidents, including actions taken, backup system, and reporting. g) Malfunction and repair of laboratory equipment. h) Retiring of laboratory equipment.
Relevant staff is aware of the laboratory equipment plan and use.
Laboratory requisite equipment in accordance to pre-selection criteria as mentioned form I) to X) in the intent. I) Scope of service II) Match the instrument specifications provided by the laboratory. III) Performance characteristics of the instrument. IV) Cost of the equipment. V) Readily available reagents. VI) Ease of operation. VII)Consumption of electricity and water. VIII) Supplier’s support and available ongoing after sale services. IX) Updated technology in accordance to the intended use. X) Respecting safety measures.
The laboratory ensures that only trained and competent staff handles the specialized equipment.
The plan is evaluated and updated annually.
The laboratory has approved procedures that describe the installation and acceptance of the equipment.
The acceptance criteria of each equipment are identified.
Installation is performed by the vendor and according to the manufacturer’s specifications.
Trained and authorized personnel are allowed to operate and monitor the equipment
Instructions for use for all laboratory equipment are developed, available and written in a manner that equipment user can understand.
Instructions for use are strictly followed.
The laboratory has a current, approved calibration plan for all laboratory equipment with a predefined date of recalibration, that follows the manufacturer’s calibration recommendations or guidelines.
Relevant staff is aware of calibration plan.
calibration certificates from accredited calibration provider are available.
Action taken monitored in case of deviation from acceptable criteria.
The laboratory has an approved equipment preventive maintenance program as mentioned in the intent from a) to g). a) Monitoring and maintenance procedures following the manufacturer’s instructions. b) Description of the maintenance check elements. c) Description of the frequency of each check (e.g., daily, weekly, monthly). d) Identification of the responsible party e) Description of actions to be taken in the event of unsatisfactory performance (e.g.: systemic, random errors or maintenance of equipment) f) Monitoring of equipment status (e.g.,reallocation, equipment failure...) g) Process for decontaminating equipment prior to service or disposal.
Staff is aware of the equipment maintenance program.
Equipment preventive maintenance is documented according to the program.
The laboratory has an approved procedure that describes the process for the equipment failure management, including at least the items mentioned in the intent from I) to V). I) Reporting to the vendors, the manufacturer and appropriate authorities, as required. II) Immediate action and troubleshooting. III) Assessment of the failure impact on reported results. IV)Backup plan implementation. V) Reporting of delayed results.
Equipment failures are investigated and gaps in services are identified.
Authorized personnel are knowledgeable about the dealing with adverse incidents and accidents related to equipment malfunction or failure.
Equipment files and records includes the elements mentioned in the intent from a) to e). a) List of all laboratory equipment with unique identity of each including Manufacturer’s name, model and serial number or other unique identification. b) Contact information for the supplier or the manufacturer. c) Date of receiving and date of entering into service. d) Location of the equipment. e) Condition when received (e.g. new, used or refurbished…)
Equipment management program maintains records as mentioned in the intent from I) to VII). I) Equipment initial installation calibration records II) Performance specification records of the equipment upon installation III) Equipment instructions for use. IV) Maintenance carried out and the schedule for preventive maintenance. V) Equipment performance records entire history that confirm the equipment’s ongoing acceptability for use). VI) failure, or malfunction, modification, or repair of the equipment. VII)List of authorized personnel for each equipment function.
Equipment files and records are readily available and easily retrieved.
Equipment file and records are kept up to date.
The laboratory has an approved procedure that describe the process for retiring laboratory equipment.
Relevant staff is aware of equipment retiring process.
Safety disposal measures are followed when retiring and disposing of equipment.
Equipment retiring records are available.
QSE: 7.Process Management
The laboratory has an approved quality improvement, and client safety, plan including items mentioned in the intent from a) to k). a) The goal(s) (managerial and technical goals) that fulfil the laboratory mission. b) Organization structure and improvement reporting channels. c) Roles and responsibilities of head of departments. d) Define Organizational Priorities. e) Performance measures road map selection. f) Data collection, data analysis tools and validation process. g) Defined criteria for prioritization and selection of performance improvement projects. h) Defined improvement activities. i) Quality Improvement model(s) used. j) Information flow and reporting frequency. k) Annual evaluation of the plan.
Laboratory staff is trained and actively participate in performance improvement activities.
Quality improvement activities are monitored and results are reported to the governing body.
The plan is communicated to the relevant stakeholders
A qualified individual(s) is assigned with a clear job description to oversight the quality improvement activities.
The plan is reviewed, evaluated and updated annually
There is a list of the laboratory measures includes the items mentioned in the intent from a. to e). a) The laboratory’s safety and infection control programs b) Pre-examination processes c) Examination processes d) Post examination processes, e) Managerial indicators which may include: i. Utilization management indicators ii. Average waiting times in the relevant service areas iii. Client and family satisfaction rates. iv. Client complaints. v. Staff satisfaction. vi. Staff complaints. vii. Procurement of routinely required supplies. viii. Staff performance. ix. GAHAR safety requirements x. Facility management
There is an approved identity card for each selected performance measure.
Staff responsible for the collection, interpretation, and/or use of performance measurement is aware of its definition and identity card contents.
The relevant performance measures are monitored frequently.
Results of measures analysis are regularly reported to the governing body and to those accountable for improvement and action taking.
There is a written process for data review and validation as mentioned in the intent from I) through VII). I) Starting a new measure in general and a clinical measure in specific II) Publishing the data to the community III) Any change in the data collection methodology IV) Unexplained results without justification V) Change in the source of data VI) Change in the scope of data collected VII)Sent to external bodies
Responsible staff members for data aggregation, analysis, and validation are aware and trained about their roles.
Data is aggregated and analyzed on regular basis.
Data review techniques are implemented to ensure all the elements from a) to f) in the intent are considered. a) Validity: data measure what it is supposed to measure. b) Reliability: everyone defines, measures, and collects data uniformly. c) Completeness: data include all the values needed to calculate performance measure d) Precision: data have sufficient detail. e) Timeliness: data are up to date. Information is available on time. f) Integrity: data are true.
Laboratory Service information describes the requirements as mentioned in intent from a) through p). a) The location and opening hours of the laboratory. b) Available tests and services offered by the laboratory (including clinical advice on requesting of examinations and on interpretation of examination results) . c) Registration process. d) Correct completion of request form. e) Client preparation assessment including special preparation requirements. f) Proper unique client identification by at least two identifiers. g) Type of specimen, volume, stability, container, preservative required. h) Specimen labelling, handling and transportation including specimens of referral laboratory. i) Turn Around Time for each laboratory test. j) Biological reference intervals, and clinical decision values. k) Specimen rejection process. l) Process of handling urgent requests. m) Client information protection policy. n) Complaint procedure. o) Factors that may affect the performance of the examination or the interpretation of the results. p) Special procedures need written consent
Staff is aware of laboratory service information.
Laboratory service information is provided to clients (Service users) in a manner they understand.
Clients (Service users) are aware of the laboratory service information as per their need and according to laws and regulations.
Any changes in the laboratory service information are communicated to all laboratory staff members, and service users as per need.
The laboratory has an approved procedure that describe the process of test request including elements mentioned in the intent from a) through b). a) Use of appropriate request form according to the test ordered. b) Completion of request form (whether electronic or paper) shall include at least the following: i. Complete, accurate client information (client name, date of birth, gender, and client contact). ii. Name of the ordering individual/physician or referring laboratory (when available). iii. Tests requested. iv. Date and time of specimen collection. v. Identification of the person who collected the specimen. vi. Clients’ preparation assessment. vii. Clinical information (as required) viii. Type of specimen (including source in special type of specimens) ix. Special marking for urgent tests request.
Responsible staff is aware of requesting laboratory test procedure.
Request form includes all items mentioned in the intent from i) to ix). b) Completion of request form (whether electronic or paper) shall include at least the following: i. Complete, accurate client information (client name, date of birth, gender, and client contact). ii. Name of the ordering individual/physician or referring laboratory (when available). iii. Tests requested. iv. Date and time of specimen collection. v. Identification of the person who collected the specimen. vi. Clients’ preparation assessment. vii. Clinical information (as required) viii. Type of specimen (including source in special type of specimens) ix. Special marking for urgent tests request
Test requesting records are available
The laboratory has an approved procedure to guide client preparation assessment before sampling process following testing algorithm and guidelines.
The responsible staff is qualified and aware of the process of client preparation assessment.
The client preparation assessment is recorded in the client’s request form.
The laboratory has an approved procedure that describe specimens’ collection as mentioned in intent from a) through g). a) Unique client identification. b) Client preparations including instructions for dietary requirements (e.g., fasting and special diets); timed testing (e.g., glucose tolerance, therapeutic drug monitoring); and medication restriction. c) Description of specimen collection techniques. d) Care of client and phlebotomy adverse incidents (fear, phobia, hematoma formation, syncope and fainting, excessive bleeding, edema …. etc.). e) Proper specimen labelling e.g. (Two client identifiers, Collection date, type of sample and test requested). f) Defining criteria for safe disposal of materials used in the collection. g) The identity of the collector shall be traceable.
The responsible laboratory staff is aware and trained about the primary specimen collection process.
Specimens labelling is performed according to the laboratory procedure.
Care of client and phlebotomy adverse incidents are managed.
The sample collection process is followed and regularly monitored.
The laboratory has an approved procedure that describe process of specimen handling and transportation including elements mentioned in the intent from a) to c). a) Safety precautions and instructions for proper safe specimens packing. b) Handling and transportation whether to the laboratory, within the laboratory or to referral laboratory including instructions for handling and transportation of irretrievable specimens (specimens that are extremely difficult or impossible to recollect due to the nature of the specimen or due to unique circumstances under which the specimen was obtained). c) Special transportation safety requirements (e.g., Specified temperature interval, within a certain time appropriate to nature of requested tests to ensure integrity of specimens during transportation, in appropriate safe containers, etc.)
Competent personnel are responsible for specimen handling and transportation according to the approved procedures.
The procedure for specimens handling and transportation is followed within the laboratory.
The procedure for packing and transportation of specimens to referral laboratories is consistent with the referral laboratory collection and handling requirements.
The laboratory has approved procedures that describe process for specimen reception and tracking including elements mentioned in the intent from a) to e). a) Criteria of acceptance or rejection of specimens b) Process of recording of all specimens received in an accession book, worksheet, computer or other comparable system. c) Process of evaluation of the received specimens by authorized personnel to ensure that they meet the acceptance criteria relevant for the requested examination(s). i. Acceptable specimen: recording includes the date and time of specimen’s reception/ requesting and the identity of the person receiving the specimen. ii. Unacceptable specimen: Records of rejection are maintained, including the cause of rejection, time and date, name of rejecting person, and name of the notified individual. iii. Indications of acceptance of suboptimal specimens, recording that includes client notification and insertion of test comment, taken measures, the date and time of specimen’s reception/ requesting and the identity of the receiving person. d) Process of traceability of all portions of a specimen to the original primary specimen. e) Process of recording all specimens referred to other laboratories for testing.
Responsible staff is aware and trained about the instructions of specimen reception.
All accepted, rejected and suboptimal specimens are recorded including all data mentioned in the intent.
All portions of a specimen are traceable to the original primary specimen.
All specimens referred to other laboratories are recorded.
The laboratory has approved procedures that describe process for proper specimen storage in pre-examination phase.
Responsible staff is aware about the proper storage condition of the specimen.
Conditions of specimens’ storage are identified and controlled.
Specimens are stored in appropriate conditions during all pre-examination activities.
The laboratory has a process for the selection of the examination procedures for all subspecialties present in the laboratory
Responsible laboratory staff is aware about the examination procedures.
Authorization list of the personnel performing the examination procedures is available in the laboratory.
Reference of selected examination procedures used are available.
The laboratory has an approved procedure that describe the process for verification /validation of examination methods for all laboratory tests.
The authorized staff is aware about the verification/validation process.
The laboratory follows verification/validation methods endorsed by guidelines.
Records of verification and/or validation results fulfill acceptable criteria based on predetermined guidelines.
Biological reference intervals and clinical decision values are defined by the laboratory.
Biological reference intervals and clinical decision values have a reliable and accepted references or guidelines (in accordance with the related examination procedures when applicable).
Biological reference intervals and clinical decision values in examination procedures are in accordance with that in the clients’ reports.
Biological reference intervals and clinical decision values are reviewed at least annually.
The laboratory has a documented and implemented examination procedure for each analytical test method.
Responsible laboratory staff is aware of the laboratory examination procedures.
Each procedure includes all the required elements mentioned in the intent from a) to k). a) Principle and clinical significance of the test. b) Requirements for client preparation and specimen type, collection and storage, Criteria for acceptability and rejection of the sample. c) Reagents and equipment used. d) Method performance criteria. e) Test procedure including test calculations and interpretation of results. f) Calibration and control procedures. g) Biological reference intervals/clinical decision values. h) Critical test results. i) Analytical measurement range and instructions for determining results when it is not within the measurement interval. j) Limitations in methodologies including interfering substances. k) References
The laboratory examination procedures are readily available when needed.
The laboratory examination procedures are reviewed at least annually by the authorized personnel.
Prepared/reconstituted reagents and solutions are identified Reagents/solutions labelling satisfying all requirements as mentioned in intent from a) to g). a) Content. b) Concentration/titre. c) Preparation/reconstitution or opening date. d) Expiration date. e) Storage requirements. f) Identity of the personnel preparing/reconstituting the reagents and solutions. g) A new stability date and/or storage conditions for the opened, prepared or reconstituted reagent.
Staff is aware of the reagents/solutions labelling and storage requirements.
The reagents/solutions labelling identification process is monitored and tracked.
The laboratory has an approved procedure that describe the internal QC process of all laboratory tests fulfilling items mentioned in the intent from a) to e). a) The frequency for QC testing is determined by the laboratory in accordance with guidelines and manufacturer instructions whichever is more appropriate. b) Quality control materials to be used are defined, handled and tested in the same manner and by the same laboratory personnel testing client samples. c) QC performance expectations and acceptable ranges and rules should be defined and readily available to staff so that they will recognize unacceptable results and trends in order to respond appropriately. d) The QC results are approved by the authorized personnel prior to specimen testing. e) The internal QC procedure complies at least with the following items: i. Quantitative testing includes quality control at different levels and frequency according to the manufacturer and guidelines. ii. Qualitative testing includes positive and negative controls. iii. Semi-quantitative testing with graded or tittered results includes a control material of graded or tittered reactivity.
Internal QC for all laboratory tests includes at least the items mentioned in the intent from i) to iii). i. Quantitative testing includes quality control at different levels and frequency according to the manufacturer and guidelines. ii. Qualitative testing includes positive and negative controls. iii. Semi-quantitative testing with graded or tittered results includes a control material of graded or tittered reactivity.
Responsible authorized laboratory personnel are competent in performing and monitoring internal QC.
All quality control processes are performed according to the internal quality control procedure.
Internal QC records are retained for all laboratory tests for at least one year.
The laboratory has approved procedures that describe the process for reviewing the internal quality control data
Authorized personnel reviews internal quality control process and checks data at regular intervals
Preventive and corrective actions are taken whenever indicated.
Evaluation of the effectiveness of the actions taken.
The laboratory has approved procedures that describe the process for taking proper corrective preventive actions to deficiencies identified.
The laboratory staff is aware of the corrective / preventive action for deficiencies identified.
The laboratory’s corrective / preventive actions include elements mentioned in intent from a) through e). a) Taken immediately after problem has been identified. b) Consistent with defined quality control procedure. c) Support timely response to inspections or off-site consultation. d) Adequate to correct all the deficiencies implicated in the problem (for example, if one client’s results are discovered to be incorrect, other clients’ results from the same testing sequence are evaluated to ensure correctness). e) Includes a process to review the adequacy of actions taken
Quality control data and error/incident logs are reviewed to identify the corrective / preventive actions to be taken.
The laboratory participates in an acceptable external quality assessment proficiency testing program according to the criteria mentioned in the intent from a) to f). a) Proficiency testing programs are accredited or certified by recognized authority. b) The analyte in the PT program is comparable to the analyte being monitored. c) The program has adequate participants to warrant sound statistics with maximal confidence and thus minimal uncertainty, an adequate relevant peer group (including 9 or more labs) is always preferred to an all-method comparison group. d) Suitability of the PT materials for the intended use. e) The frequency at which the PT program is operated. f) The availability of details about the program (procedures for establishment of assigned values, procedures for statistical treatment of data, criteria for defining peer groups, criteria for accepting results, clear schedule of cycles starting dates, clear agreement on PT materials delivery dates and finally clear PT provider manual regarding amending and late results.
The laboratory participates in a PT program following the criteria mentioned in the intent from I) to V). ) 50% of laboratory scope of tests in each laboratory discipline (e.g., chemistry, hematology, bacteriology, molecular etc.). II) These 50% must include both high frequency tests in the laboratory (the laboratory shall provide evidence of the high frequency) and the high risk or critical tests (e.g. cardiac markers, blood gases etc.) III) The participation shall cover at least 75% of the tests in each discipline by the end of the accreditation cycle. IV) If the laboratory has more than one testing site, PT enrolment and participation is required for non-waived tests. V) For Anatomic Pathology laboratories, PT test covering both preparation and interpretation are required for each test.
The laboratory reports the PT results within the required timeframe and according to the provider’s instructions.
The laboratory provides PT satisfactory performance in 70% of program samples.
A review of PT reports includes the requirements mentioned in intent from i) to iv). i) Corrective / preventive action and root cause analysis are documented for any single or multiple challenge(s) of each analyte that does not fall within acceptable limits. ii) When PT results exceed acceptable performance limits or demonstrate trends, laboratories are required to investigate, determine root cause, consider impact on client results and take corrective / preventive action. The laboratory must provide evidence that an alternate assessment (AAP) was conducted to ensure accuracy during the time frame when two consecutive unacceptable results (results greater than ±3.0 SDI) for an analyte in PT programs provide 12 samples/year or one unacceptable result in an analyte in PT programs provide 4-5 samples/year or less “Unacceptable results” fall outside the evaluation criteria, as defined by the PT provider). iii) Other problems or potential problems identified during the review are documented, along with corrective / preventive actions. iv) The laboratory should discontinue testing of any analyte when the laboratory has one or more of the following: • Has confirmed a clinically significant impact on client results • Cannot verify the accuracy and reliability of test results • Cannot determine the cause of significant or ongoing PT failure. • The results are used for education, re-education, or training of one or more employees, when indicated.
Records of all PT processes are retained for at least one full cycle.
The laboratory has approved procedures that describe the process of proficiency testing requirements includes elements mentioned in intent from a) through e). a) Samples are tested along with the laboratory’s regular client testing workload by personnel who routinely perform the laboratory test(s) using routine methods. b) Laboratory personnel test the proficiency specimens the same number of times that they routinely test client samples. c) Communication between participating laboratories about the results of proficiency testing samples should occur only after the date by which the laboratory is required to report them to the provider. d) The laboratory does not send specimens to another laboratory for analysis. e) For automated tests the laboratory must retain the print out of PT specimen result. This should be readily available for review either as hard copy or stored in the instrument.
Laboratory staff is aware of the proficiency specimen testing requirement.
Records of proficiency specimen testing support implementation.
Records of PT results are retained either as hard or soft copy.
The laboratory has an approved procedure that identify the method and the frequency of testing of AAPs includes elements mentioned in intent from a) to c). a) Tests for which PT is not available. b) Tests for which PT is available but are not yet included in the laboratory PT program. c) Tests that show unacceptable PT results
The laboratory staff is aware of the alternative assessment procedure(s).
The laboratory develops and documents the alternative assessment procedures including the limits of acceptability for each quantitative assessment.
Records of AAPs results and corrective / preventive actions are reviewed by authorized person and retained for at least 1 year.
The laboratory has an approved procedure that describe the process for comparison of different methods /instruments includes elements mentioned in intent from a) to c). a) The instructions for method/instrument comparison following guidelines. b) If the laboratory performs the same test using two or more identical analyzers, verification and comparability studies shall be done between the equipment along with acceptable AAPs according to guideline. c) If the laboratory performs the same test using two different analyzers, Comparability studies shall be done during verification or when needed.
The laboratory implements procedures for comparability between instruments/methods and defines actions to be taken in case comparability is not achieved
Records of correlation between testing methodologies or instruments comparability are retained.
The laboratory has approved procedures that describes the process of test results reporting as mentioned in intent from a) to d). a) Identifying the person(s) who performed the test (totally or partly), as well as the individual who reviewed and approved results. b) The laboratory defines and implements the format and the essential data of the laboratory report which includes at least the following: i. The identity of the laboratory that performed the test ii. Client identification (by two unique identifiers of the client and the specimen), age and gender. iii. The tests performed. iv. Identification of the ordering clinician when available. v. Date and time of specimen collection and the source of specimen (in special types of tests). vi. Reporting date and time. vii. Test results, reference interval or clinical decision value for the tests performed. viii. Identification of the authorized individual who verified the report results. ix. Interpretation of results, where appropriate. x. Advisory, explanatory comment or limitation of the method when needed. xi. When needed, conditions of specimen that may compromise the adequacy of testing. xii. A comment should accompany any results noting any suboptimal specimen characteristics. xiii. For any special procedure (molecular biology, cytogenetics, protein and Hb electrophoresis tests… etc.), the report includes the essential or required information needed for proper interpretation of results (testing methodology used, limitations of the method, any interpretation of findings (either fixed statement or changeable according to the case, any recommendations for additional testing.) c) Referral laboratory reports include the above-mentioned elements. d) Referral laboratory reports are not modified in any way that would change their meaning
Authorized staff is aware about the content of the report.
List of staff authorized to review the reports is available.
There is a mean of identifying the individual(s) who performed a particular test.
The laboratory reports including those from referral laboratories are reviewed to include elements mentioned in intent from i) through xiii). i. The identity of the laboratory that performed the test ii. Client identification (by two unique identifiers of the client and the specimen), age and gender. iii. The tests performed. iv. Identification of the ordering clinician when available. v. Date and time of specimen collection and the source of specimen (in special types of tests). vi. Reporting date and time. vii. Test results, reference interval or clinical decision value for the tests performed. viii. Identification of the authorized individual who verified the report results. ix. Interpretation of results, where appropriate. x. Advisory, explanatory comment or limitation of the method when needed. xi. When needed, conditions of specimen that may compromise the adequacy of testing. xii. A comment should accompany any results noting any suboptimal specimen characteristics. xiii. For any special procedure (molecular biology, cytogenetics, protein and Hb electrophoresis tests… etc.), the report includes the essential or required information needed for proper interpretation of results (testing methodology used, limitations of the method, any interpretation of findings (either fixed statement or changeable according to the case, any recommendations for additional testing.)
The laboratory has approved procedures that describe the process of reviewing, releasing, and retaining the reported results that includes elements mentioned in intent from a) to f). a) Instructions for reporting results by any mean used by the laboratory (electronic transfer of data from an instrument or analyzer into a computer system, manual entry of data into a computer system or manually on paper report forms). b) Authorized, qualified personnel review, verify and interpret the client results. c) Confidentiality of the released test results. d) Released test result to authorized recipients (the requesters or their agents …etc.), in particular for special tests (e.g. semen, certain genetic or infectious disease examinations). e) Instructions for electronic and/or paper archiving of reported result in a manner that prevents loss, damage, unauthorized access and promotes easy retrieval. f) The defined retention time of laboratory results according to laws and regulations, guidelines for best practice and organizational needs.
Clients’ reports are reviewed, interpreted, and released by defined authorized personnel.
The retention process of a final laboratory report is implemented with easy retrieval.
Test results are released to the authorized recipient.
The laboratory has an approved procedure that describe the process for proper specimen storage and retention includes elements mentioned in intent from a) to f). a) The appropriate storage conditions for each type of specimen that prevent specimendeterioration or contamination. b) The location of specimen storage. c) The defined retention time of client samples according to laws and regulations, guidelines forbest practice and organizational needs. d) The safe disposal of clinical specimens. e) Tracking process for all specimens received is clearly defined for easy retrieval of required specimens. f) Time limits for requesting additional examinations or further examinations on the same primary specimen.
Staff is aware of specimens’ storage, retention and disposal time.
The procedure of specimen storage, retention, and disposal is implemented.
Required specimens are easily retrieved.
The laboratory has an approved procedure defining each laboratory test’s total turnaround time and means of measuring it.
The laboratory monitors the reported data on reporting times for laboratory tests and takes actions to control or improve the process as appropriate.
Delays in turnaround time are notified to requestors/end-user.
The laboratory has an approved procedure of the critical test results reporting that describe the process of “write down “and «read-back» by the recipient.
Staff is aware of the critical test result process.
The laboratory defines lists of critical values for specific tests.
All critical results are recorded within a predefined timeframe, includes elements mentioned in intent from a) through h). a) The means of notification b) Date and time of notification c) Identification of the notifying responsible laboratory staff member, d) Identification of the notified person. e) Description of the sequence of conveying the result. f) Examination results conveyed. g) Any difficulties encountered in notifications. h) The individual notified should write down and read back the result to ensure that it has been understood accurately.
The laboratory monitors the reported data on critical results and takes actions to control or improve the process as appropriate.
The laboratory has an approved procedure describing STAT testing process.
The laboratory has a list of STAT tests that defines its acceptable reporting time.
Cases of unacceptable STAT reporting time are investigated and proper actions are taken accordingly.
The laboratory monitors the reported data on STAT turnaround time and takes actions to control or improve the process as appropriate.
The laboratory has an approved process for amended / discrepant reports.
Laboratory staff is aware and trained about process of amended / discrepant reports.
Amended report is identified and includes elements mentioned in intent from a) through e). a) Reasons for the revision. b) Changes to client results and its impact on the client diagnosis or treatment. c) Accompanying reference intervals and /or interpretations. d) Date and time of the modification. e) Name of the individual authorized for the change
Discrepant report (Discrepant report is issued when the results of laboratory tests do not align with expected outcomes, previous test results, or clinical finding.) is identified and includes elements mentioned in intent from I) through V). I) Identification of discrepancy. II) Comparison data with previous results or expected outcome. III) Investigation for the cause of discrepancy, including repeat testing or additional analysis. IV) Clinical implications for the client’s diagnosis or treatment. V) Recommendations for further testing, consultation or monitoring (if any).
Amended / discrepant reports is reported to the authorized individual and proper actions are taken accordingly.
Amended / discrepant reports are modified by authorized personnel.
QSE: 8.Documents and Records Management
The laboratory has approved procedures that describe the process for creating, formatting, and reviewing of documents includes elements mentioned in intent from a) to h). a) Standardized formatting. b) Document control system for tracking of issues and tracking of changes; c) The system allows each document to be identified by title, date of issue, edition and/ or current revision date, the number of pages, the person authorized of issuing and/or reviewing the document and identification of changes. d) Obsolete controlled documents are dated and marked as obsolete e) Required documents are available and disseminated to relevant staff f) Staff understand how to access those documents relevant to their responsibilities. g) Retirement of documents h) Documents revisions
Staff is aware and trained for the documentation management system.
Reviewing of selected documents that comply with the mentioned procedure are conducted within defined timeframes.
There is a list of updated authorized versions of all documents.
Proper distribution of all documents following the distribution matrix.
QSE: 9.Information Management
The laboratory has approved policy and procedures that describe the process for information management system includes elements mentioned in intent from a) to h). a) Unique identifiers for clients and samples b) Standardized test request forms (requisitions) c) Logs and worksheets d) Checking processes to assure accuracy of data recording and transmission e) Protection against loss of data f) Protection of client confidentiality and privacy g) Effective reporting systems h) Effective and timely communication.
laboratory staff is aware and trained on the information management system.
Laboratory records (either manually or electronically) are traceable and easily retrieved.
Amended data is traceable by date and time and performed by authorized individual(s).
Confidentiality of client information is maintained according to laws and regulations.
The laboratory has an approved policy and procedure that describe the process for information management security including accessibility, modification and updates to client data includes elements mentioned in intent from a) to h). a) Security and timely installation of system updates. b) Measures for access control for authorized staff. c) Documentation of changes approval. d) Identification of personnel who changed or modified the data. e) Validation of affected functions after update/modification when needed. f) Verification of the integrity and accuracy of the data when needed. g) Confidentiality agreements signed by all those who have access to laboratory data. h) Procedures to follow if confidentiality or security of information has been breached.
Laboratory staff is aware about information management security.
The laboratory that has computer-based information management system (LIS), fulfilling all elements mentioned in the intent from I) to III). I) The laboratory establishes security (user) codes to permit only authorized individuals to access client data and change results, alter computer tables or programs. II) Client information sent over a public domain such as the internet or stored in «The Cloud» is considered «potentially public» Thus, it may be accessible to some unauthorized parties on that network. Systems must be in place to protect network traffic, such as «fire walls» and data encryption schemes. III) Access control policy should include authorized entry to data center(s) housing the LIS and logging into server(s) operating system hosting the LIS.
Authorization list is present for staff based on their responsibilities.
There is a signed confidentiality agreement in each staff member's personal file.
Procedures are followed (Action is taken) if confidentiality or security of information has been breached.
The laboratory has a maintenance program for the LIS that includes elements mentioned in intent from a) to i). a) Errors and exception reports review. b) Database maintenance. c) Mainframe system(s). d) Server(s). e) Personal computer(s). f) Printer(s). g) Bar-code equipment (readers and printers). h) Communication and networking equipment. i) Uninterruptible Power Supply (UPS) system.
Responsible staff is trained about the maintenance program and contingency plan.
The laboratory has an approved policy and procedures that describe the process for operation during LIS downtime includes elements mentioned in intent from I) to V). I) Written procedures and forms to be used during downtime. II) Documentation and reporting of client results during LIS downtime. III) Verification of the integrity of the system and data entry after the downtime. IV) Review of downtime assessment report. V) The alternative system regularly tested for effectiveness.
Downtime records are regularly reviewed and maintained.
. The laboratory has a comprehensive and accessible LIS user manual.
Laboratory staff is trained on the LIS proper use according to their responsibilities.
The LIS user manual is reviewed, updated on regular basis and when indicated.
The laboratory has implemented policy and procedures that describe process for LIS validation.
Staff members who are using LIS are aware of the policy requirements.
The LIS functionality is regularly evaluated.
Valid LIS license is available.
LIS user testing record is maintained.
Laboratory test calculated values are validated and reviewed according to evidence-based guidelines.
The laboratory has an approved policy and procedures that describe the process for data transfer verification and control.
Laboratory staff is aware of right data transfer process.
Data transferred from the equipment to the LIS is monitored and tracked for any changes that might occur during transfer.
The laboratory has an approved policy and procedures that describe the process for auto verification including rapid suspension when needed.
Staff is ware of auto verification policy.
Auto verification/ validation and periodic reviewing records are available.
Resealed auto verified client results comply with the predetermined criteria.
Record for the suspension of auto verification describing the reason of suspension and the date of suspension are available.
The laboratory has an approved policy and procedures for data storage and retrieval.
Laboratory staff is trained about data retrieval policy and how to recall old client results when needed.
Stored client result data and archival information are retrievable within a time frame consistent with client care needs.
The laboratory backup system is implemented.
QSE: 10.Non-conforming Events Management
The laboratory has an approved procedure that describe the process for non-conformity management including items in the intent from I) to IV). I) The responsibilities and authorities for handling nonconformities are designated. II) The immediate actions to be taken are defined. III) The extent of the nonconformity is determined. IV) Each nonconformity is documented and recorded, with these records being reviewed at regular specified intervals to detect trends and initiate corrective action.
Records of non-conformity and actions taken is available and maintained.
The laboratory has an approved incident-reporting system that includes items from a) through f) in the intent. a) List of reportable incidents including near misses, adverse events, and sentinel events. b) Incident management process includes how, when, and by whom incidents are reported and investigated. c) Staff training on incident management process. d) Incidents requiring immediate notification to the management. e) Incident classification, analysis, and results reporting. f) Indication for performing intensive analysis and its process.
All staff is aware of the incident-reporting system, including all types of contracted and outsourced Services.
Reported incidents are investigated and corrective / preventive actions are taken to close gaps in services in a timely manner.
The laboratory provides immediate and ongoing support to clients and staff who are affected by adverse events.
All sentinel events (events that may result in death or serious harm)are investigated, and corrective/preventive actions are taken based on identified root cause analysis.
All sentinel events are communicated to GAHAR within two working days of the event or becoming aware of the event.
QSE: 11.Assessments
The internal assessment program covers all the laboratory activities at predetermined frequency (at least annually), as mentioned in the intent from a) to g). a) Identification of the activities and quality systems to be assessed. b) Planning/ schedule for the assessment (at least annually). c) Assessment methodology and data collection tools. d) Analysis and reporting of assessment results. e) Development of corrective actions (when needed). f) Implementation and monitoring of corrective action plan. g) Management review and approval
Laboratory head of departments review and approve the internal assessment reports and evaluate the effectiveness of the corrective actions taken.
Competent and trained personnel performing the assessment.
General QSE: 12.Continual Improvement
There is a written process or methodology for improvement.
Actions to correct problems are taken within the approved timeframe.
Improvement activities are tested, and the results are recorded and implemented.
Improvements projects are monitored and sustained.
The laboratory conducts at least one utilization improvement project annually.